Job at 15519 Piedmont Street – Masako Green:

**Description of existing conditions:** Installation on asphalt shingles, flat ceiling profile. Roof design analyzed to show:

* Ground snow (Pg): 20psf
* Wind Speed (V): 115 mph

Roof has been determined to handle the load of roof-mounted solar modules.

**Description of project**: Roof-mounted solar installation

**Detailed scope of proposed work for approval:**

* Installing 12 roof-mounted solar modules.
* Modules are 3.84 kW and grid tied.
* Modules are to be installed on an existing residence.
* Battery installation is also to be performed.